## Slide 1
PART 1 : DC ANALYSIS
Chapter 2 Basic Laws
2022.1

## Slide 2: Chapter2 Basic Laws
2.1 Ohm’s Law and Linear Resistor.
2.2 Nodes, Branches, and Loops.
2.3 Kirchhoff’s Laws.
2.4 Equivalent Subcircuits.
2.5 Series Resistors and Voltage Division.
2.6 Parallel Resistors and Current Division.
2.7 Wye-Delta Transformations.

## Slide 3: 2.1 Ohm’s Law and Linear Resistor
A element which dissipates energy but stores none is said to consist solely of resistance.
i
u
Volt-ampere
relationship
The circuit element used to model the current-resisting behavior of a material is the resistor.
u～i relations

## Slide 4: 2.1 Ohm’s Law and Linear Resistor
u～i relations
R--Resistance ： (Ohm)
Ohm’s Law
u
i
in S.I. units
G –conductance: S (Siemens)
u、i : Associate reference direction
R
u
i
+
－
Volt-ampere :
A line through origin
Linear resistor

## Slide 5: 2.1 Ohm’s Law and Linear Resistor
Notice:
(3) Active sign convention
(2) Imply linearity resistance is nonmemory
Ohm’s Law
(1) u-i relationship for a linearity resistance
u  –R i
R
u
i
+
-
Passive sign convention
R
u
i
+
－

## Slide 6: 2.1 Ohm’s Law and Linear Resistor
Resistor dissipate energy
p  –u i –(–R i) i i2 R
 –u(–u/ R)  u2/ R
p  u i i2R u2 / R
R
u
i
+
-
R
u
i
+
-
Power of Resistance

## Slide 7: 2.1 Ohm’s Law and Linear Resistor
Example:
Calculate the power of each circuit element.
Solution
+
_
i
+
_
+
_
10V
5V
satisfy ：P（deliver）＝P（absorb）
Figure 2.1

## Slide 8: Two extreme possible values of R
An element with R = 0 is called a short circuit.
An element with R =∞ is known as an open circuit.

## Slide 9
Notice：Only linear resistor obeys Ohm’s law. It has a constant resistance.
A nonlinear resistor does not obey Ohm’s law. Its resistance varies with current.
Figure 2.2

## Slide 10: conductance
A useful quantity in circuit analysis is the reciprocal of resistance R, known as conductance and denoted by G:
The conductance is a measure of how well an element will conduct electric current.

## Slide 11: Power
The power dissipated by a resistor can be expressed in terms of R.
The power dissipated by a resistor may also be expressed in terms of G.
1. The power dissipated in a resistor is a nonlinear function of either current or voltage.
2. Since R and G are positive quantities, the power dissipated in a resistor is always positive. Thus, a resistor always absorbs power from the circuit. This confirms the idea that a resistor is a passive element, incapable of generating energy.

## Slide 12
Example
An electric iron draws 2 A at 120 V. Find its resistance.
Practice
For the circuit shown in Fig. 2.3, calculate the voltage v, the conductance G, and the power p absorbed by the resistor.

## Slide 13
Example
An electric iron draws 2 A at 120 V. Find its resistance.
Practice
For the circuit shown in Fig. 2.3, calculate the voltage v, the conductance G, and the power p absorbed by the resistor.
Fig. 2.3

## Slide 14: Summary
1. A resistor is a passive element in which the voltage u across it is directly proportional to the current i through it. That is, a resistor is a device that obeys Ohm’s law。
R
u
i
+
-
R
u
i
+
-
u  –R i

## Slide 15
2.
short circuit.
open circuit.
3. The conductance G

## Slide 16
1. Calculate current i when the switch is in position 1.
i= [填空1]A.
2. Find the current when the switch is in position 2.
i= [填空2]A.
作答
正常使用填空题需3.0以上版本雨课堂
填空题
2分

## Slide 17: Homework （2th time）
1. Calculate the absorbed power of each resistor and the supplied power of each source in the circuit.